## Parts
No. |  | Part | Manufacturer | Part Number | Quantity | Price per unit/ $ | Note
1 |  | Turbo pumping station with DN63 CF inlet + Pirani/Cold Cathode Vacuum gauge with DN 40 CF inlet | Pfeiffer | PM 163 937 BT | 1 | 7495 | Pfeiffer HiCube 80 Eco Pump System with Gauge – Inlet DN63 CF with PKR 361 DN40 CF, https://highvacdepot.com/product/pfeiffer-hicube-80-eco-pump-system-with-gauge/
2 |  | Residual gas analyzer | Extorr | XT100 | 1 | 3450 | measures up to 100 amu,no electron multiplier, https://www.extorr.com/prices/
3 |  | Uninterruptible Power Supply System | CyberPower | CP1500PFCLCD | 1 | 220 | https://www.amazon.com/CyberPower-CP1500PFCLCD-Sinewave-Outlets-Mini-Tower/dp/B00429N19W?th=1
4 |  | Fittings
| a | 1/4" stainless steel tee | Swagelok | SS-400-3 | 1 | 30 | https://products.swagelok.com/en/c/tees/p/SS-400-3
| b | 1/4" to 1/8" stainless steel bulkhead reducing union | Swagelok | SS-400-61-2 | 3 | 25 | https://products.swagelok.com/en/c/straights/p/SS-400-61-2?q=SS-400-61
| c | 1/4" swagelok to 10-32 thread 1/16" OD tubing Adapter | Vici Valco | ZTA41 | 2 | 15 | https://www.vici.com/vfit/tubeadp.php
| d | 10-32 coned 1/16" OD tubing Fingertight PEEK fitting | Vici Valco | ZNF1FPK-5 | 1 | 60 | https://www.vici.com/cfit/nuts_nt.php
5 |  | Tubing
| a | 1/4" OD stainless steel tubing | Mcmaster Carr | 89785K824 | 1 | 40 | Price for 6 ft, actual required length depends on application, https://www.mcmaster.com/89785K824-89785K51/
| b | 1/16" OD, .002" ID PEEK capillary tubing | Vici Valco | TPK102-1.5FT | 1 | 10 | Customized item, https://www.vici.com/tube/peek_tubing.php#1-16 ID and length can be adjusted to achieve expected pressure range, check Extorr website for instruction
6 |  | Flanges
| a | RGA Probe manifold | Extorr | MAN450C | 1 | 600 | For mounting RGA to vacuum station, https://www.extorr.com/products/vacuum-equipment/probe-manifolds/
| b | DN 40 CF to 1/4" Swagelok Single Valve Sampling Inlet | Extorr | VA1CAP4 | 1 | 650 | Bellows valve isolating the ambient pressure sample from the vacuum station, https://www.extorr.com/products/vacuum-equipment/inlet-assemblies/single-valve-sampling/
| c | Stainless Steel DN 40 CF tee | Mcmaster Carr | 9088K62 | 1 | 175 | Connecting vacuum gauge and inlet valve to the manifold, https://www.mcmaster.com/9088K62/
7 |  | Accessories
| a | DN 40 CF Copper gasket | Mcmaster Carr | 9088K52 | 4 | 5 | https://www.mcmaster.com/9088K52/
| b | DN 40 CF Bolt Kit | Mcmaster Carr | 9088K72 | 3 | 15 | https://www.mcmaster.com/9088K72/
[5 empty] | Total | 12900